## Slide 1: Generalized Autocalibrating Partially Parallel Acquisitions (GRAPPA)
Lee Jaeeun
2018/02/06

## Slide 2: Index
Introduction
Theory
  GRAPPA
    Overall process
    Calibration & Reconstruction
    ‘Generalized’
Result
Conclusion
Discussion

## Slide 3: Introduction
What is the GRAPPA?
  New PPA method
  Get the info from k-space (no need of accurate RF maps)
  Extension of PILS & VD-AUTO-SMASH
The feature of GRAPPA
  Steps of image reconstruction and combination are decoupled
  Higher SNR and better quality of image than preceding PPA research

## Slide 4: Theory
- Overall process

## Slide 5: Theory
1 2 3 4 5 6 7 8 9 10
- Calibration & Reconstruction
j : ACS line get weighted
L : total # of coils
Nb : # of blocks used in reconstruction
n(j,b,l,m) : weight
A : Acceleration factor
j = 4
L=4
ky = 8
m = 3
del(ky) = 1
Nb = 4
A = 2

## Slide 6: GRAPPA
Calibration
Ax = b
Kx
Ky

## Slide 7: GRAPPA
Image reconstruction (sliding block approach)

## Slide 8: GRAPPA
Inverse
Ax = b
(mxn)
Full rank (invertible)
1) Underdetermined(rank = m, m<n)
- Right inverse(, size = mxm)
2) Overdetermined(rank = n, m>n)
    - Left inverse(, size = nxn)
2. Singular Value Decomposition(SVD), pseudo inverse
1) SVD
-
2) Pseudo inverse
    -
: eigen vectors of
: singular values of A ()
: eigen vectors of
: projection matrix onto the column space of A : projection matrix onto the row space of A

## Slide 9: GRAPPA
Reconstruction
Ax = b

## Slide 10: GRAPPA
Generalized
W1 W2 W3

## Slide 11: GRAPPA
Generalized
(Nb = 4, Acc_factor = 2, Acs = 20)

## Slide 12: GRAPPA
Generalized
(Nb = 4, Acc_factor = 2, Acs = 20)

## Slide 13: Result
1) Nb (Acc_factor = 2, Acs = 20)

## Slide 14: Result
1) Nb (Acc_factor = 2, Acs = 20)

## Slide 15: Result
2) Acceleration factor
(Nb = 4, Acs = 20)

## Slide 16: Result
2) Acceleration factor (Nb = 4, Acs = 20)

## Slide 17: Result
3) Number of ACS lines
(Acc = 2, Nb = 4)
53.91%
57.81%
61.72%
65.63%

## Slide 18: Result
3) Number of ACS lines
(Acc = 2, Nb = 4)
53.91%
57.81%
61.72%
65.63%

## Slide 19: Conclusion
An extended blockwise VD-AUTO-SMAHS reconstruction
Particularly useable in areas where coil sensitivity maps are hard to obtain
Effect of variables : Acceleration factor > Number of ACS lines > Number of blocks

## Slide 20: Discussion
Using adaptive array combination instead of sum of square
If we got the highly accurate coil sensitivity map, SENSE is better
A variety number of way to get the ACS lines.
How to judge that one image is better than other? (SNR, normalise)