## Slide 1
Sparse MRI:
The Application of Compresses Sensing for Rapid MR Imaging

## Slide 2
1. Figures
1.1. Figure 2
1.2. Figure 4
1.3. Figure 3
1.4. Figure 6
2. CS SENSE

## Slide 3
1.
Figures

## Slide 4
1.1. Figure 2

## Slide 5
1.2. Figure 4
The data acquisition speed of MRI is circumscribed by physical(gradient amp) and physiological(nerve stimulation) constraints. Therefore, many researches are seeking for methods to reduce the amount of acquired data without degrading the image quality.
FT
Random
undersampling
IFT
PSF(Point Spread Function)

## Slide 6
1.2. Figure 4
The wavelet TPSF(Transform Point Spread Function)
IDWT
FFT
FDWT
IFFT
Random
undersampling

## Slide 7
1.3. Figure 3
Transform-domain sparsity of images
Wavelet
Finite diff.
Reference

## Slide 8
1.3. Figure 3

## Slide 9
1.3. Figure 3

## Slide 10
1.3. Figure 3
TV 가 smooth info를 잘 보전하는 것이 아니라, l1 minimization을 하면서 smooth한 entry가 날라가며 smoot에 weight를 더 주는 것이 아닌가.
+ TV 자체는 wavelet에 비해 sparsity ↓
But, l1 min으로 objective function을 세우면 smoothing property를 살릴 수 있음 => 이게 아닌가
+ l1 norm으로 인해 variance 가 적은 부분들이 날라가니까 edge가 아니라 ‘edge position’의 info만 남아짐

## Slide 11
1.4. Figure 6
Iteration : 20
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
Wavelet weight = 1e-3
TV weight = 1e-3
[Acquired data ratio, Density reduction factor]
Reference
ZF-w/dc
Mask
Reconstruction
[0.4, ]
[0.3, ]
[0.2, ]

## Slide 12
1.4. Figure 6
Iteration : 50
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
Noise = 0.05
mask
Reference
ZF w/dc
wav weight = 0
TV weight = 0
A
wav weight = 1e-2
TV weight = 0
B
wav weight = 1e-4
TV weight = 0
C
wav weight = 1e-3
TV weight = 1e-3
D
A
B
wav weight = 1e-3
TV weight = 1e-2
E
C
D
E

## Slide 13
1.4. Figure 6
Reference
ZF w/dc
wav weight = 1e-3
TV weight = 1e-2
A
wav weight = 1e-3
TV weight = 1e-3
B
wav weight = 1e-3
TV weight = 1e-4
C
A
B
C
Iteration : 20
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask

## Slide 14
1.4. Figure 6
Reference
Iteration : 20
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
Wavelet weight = 1e-3
TV weight = 1e-2
mask
ZF-w/dc
[Acquired data ratio,
Density reduction factor]
[0.3,]
[0.2,]
[0.1,]

## Slide 15
wav weight = 1e-4
TV weight = 0
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 0
TV weight = 0
wav weight = 1e-2
TV weight = 0
wav weight = 1e-3
TV weight = 0
wav weight = 1e-3
TV weight = 1e-5
wav weight = 1e-3
TV weight = 1e-4
wav weight = 1e-3
TV weight = 1e-3
wav weight = 1e-3
TV weight = 1e-2
wav weight = 1e-3
TV weight = 5e-3
wav weight = 1e-3
TV weight = 5e-4
wav weight = 1e-3
TV weight = 8e-4
wav weight = 1e-3
TV weight = 3e-3

## Slide 16
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 1e-3
TV weight = 3e-3

## Slide 17
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 1e-3
TV weight = 3e-3
wav weight = 1e-3
TV weight = 2e-3
wav weight = 1e-3
TV weight = 1e-3

## Slide 18
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 1e-3
TV weight = 1e-3
wav weight = 1e-3
TV weight = 3e-3
wav weight = 1e-3
TV weight = 2e-3
wav weight = 2e-3
TV weight = 3e-3
wav weight = 5e-4
TV weight = 3e-3

## Slide 19
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 1e-3
TV weight = 3e-3
wav weight = 1e-3
TV weight = 2e-3
wav weight = 2e-3
TV weight = 3e-3

## Slide 20
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 1e-3
TV weight = 3e-3

## Slide 21
2.
CS SENSE
Sparse MRI :
CS SENSE :

## Slide 22
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
wav weight = 1e-3
TV weight = 3e-3
Sparse SENSE
CS SENSE
wav weight = 1e-3
TV weight = 3e-3
Ground Truth

## Slide 23
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
wav weight = 1e-3
TV weight = 1e-3
Sparse SENSE
CS SENSE
wav weight = 1e-3
TV weight = 3e-3
Ground Truth

## Slide 24
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
wav weight = 1e-3
TV weight = 3e-3
Sparse SENSE
CS SENSE
wav weight = 1e-3
TV weight = 3e-3
Ground Truth

## Slide 25
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
wav weight = 1e-3
TV weight = 3e-3
Sparse SENSE
CS SENSE
Ground Truth
wav weight = 1e-3
TV weight = 3e-3

## Slide 26
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Sparse SENSE
CS SENSE
Ground Truth
wav weight = 1e-3
TV weight = 3e-3
wav weight = 2e-3
TV weight = 3e-3
wav weight = 1e-3
TV weight = 2e-3
wav weight = 1e-3
TV weight = 3e-3

## Slide 27
1.4. Figure 6
Iteration : 80
Alpha = 0.05
Beta = 0.6
Smoothing factor : 1e-6
mask
Reference
wav weight = 1e-3
TV weight = 3e-3
SparseSENSE
CS SENSE
wav weight = 2e-3
TV weight = 3e-3