## Slide 1: Advances in SENSE with Arbitrary k-Space Trajectories
Jaeeun Lee
2018/11/07

## Slide 2: Contents
Review - last meeting
Troubleshooting
  CG loop
  Coil sensitivity
  Parameter adjustment
Next meeting

## Slide 3: Review

## Slide 4: Review
Coil sensitivity
2. Cg loop
-> should be divided by rss_img
-> mask / data fidelity

## Slide 5: Troubleshooting_ a) CG loop
Coil sensitivity : full sampling
Decorrelation : X
R = 4
4

## Slide 6: Troubleshooting_ a) CG loop
Coil sensitivity : full sampling
Decorrelation : X
R = 4

## Slide 7: Troubleshooting_ b) coil sensitivity
Coil sensitivity : low freq (20 lines)
Decorrelation : X
R = 4

## Slide 8: Troubleshooting _ b) coil sensitivity
Coil sensitivity : full sampling
Decorrelation : X
R = 4

## Slide 9: Troubleshooting _ b) coil sensitivity
Coil sensitivity : full sampling
Decorrelation : O
R = 4

## Slide 10: Troubleshooting _ b) coil sensitivity
Coil sensitivity : full sampling
Decorrelation : O
R = 4

## Slide 11: Troubleshooting _ b) coil sensitivity
Decorrelation step
Noise covariance
L_inv

## Slide 12: Troubleshooting _ c) parameter adjustment
# of low freq lines
Decorrelation : X
Accuracy = 1e^-6
R = 4
[256 x 256]

## Slide 13: Troubleshooting _ c) parameter adjustment
# of low freq lines
Decorrelation : X
Accuracy = 1e^-6
R = 4
[256 x 256]

## Slide 14: Troubleshooting _ c) parameter adjustment
Reduction factor(R)
Decorrelation : X
Accuracy = 1e^-6
# of low freq lines = 40/256
[256 x 256]

## Slide 15: Next meeting
- Radial data(gridding implementation)