## Slide 1
SPIRiT:
Iterative Self-consistent Parallel Imaging Reconstruction from Arbitrary k-Space

## Slide 2
1. SPIRiT(Recap)
1.1 Overview
1.2 POCS
2. Implementation
2.1 k-space based CG
2.2 image based CG

## Slide 3
1.
SPIRiT

## Slide 4
1.1 Overview

## Slide 5
1.1 Overview

## Slide 6
: calculating the gradient of objective function(eq.11)
(x)
(y)
: acquisition data consistency term (interpolating error)
: calibration data consistency term
1.1 Overview
Questions are
How to use on CG
-> =initial search direction
2.
3.
Iteration(CG) -> x_k -> iteration(CG) -> x_k+1 -> … ?
x_0 -> iteration(CG) …. -> x_final ?
The calculated gradient is then used to find a CG direction, which is subtracted from the previous estimate of k-space.

## Slide 7
1.2 Projection Over Convex Sets(POCS)

## Slide 8
2.
Implementation
Elapsed time :
2.1 k-space based CG : 9-ish
2.2 image based CG : 6-ish

## Slide 9
Sampling : uniform (x2)
Kernel : [5x5]
Calibration region : [20x20]
2.1. k-space based CG

## Slide 10
2.1. k-space based CG
Sampling : random(x3)
Kernel : [5x5]
Calibration region : [20x20]

## Slide 11
Sampling : random (x4)
Kernel : [5x5]
Calibration region : [20x20]
2.1. k-space based CG

## Slide 12
Sampling : uniform (x2)
Kernel : [5x5]
Calibration region : [20x20]
2.2. image based CG

## Slide 13
Sampling : random(x3)
Kernel : [5x5]
Calibration region : [20x20]
2.2. image based CG

## Slide 14
Sampling : random(x4)
Kernel : [5x5]
Calibration region : [20x20]
2.2. image based CG