## Slide 1: Parallel Imaging Reconstruction Using Automatic Regularization
Jaeeun Lee
2018/08/24

## Slide 2: Contents
Intro
Inter-channel noise whitening
Tikhonov Regularization
g-factor
L-curve

## Slide 3: Regularization_1) Intro
SNR is reduced due to
1. the reduced number of data samples ; inevitable
2. correlation in the spatial info(geometrical arrangement of the array coil) ; optimizing coil geometry
We can mitigate the noise amplification in SENSE reconstruction by utilizing Tikhonov regularization.
The advantages of regularized parallel MRI reconstructions was reported in various studies.
- regularization can potentially be used to unfold aliased images from an underdetermined system
A Full-FOV reference scan and the L-curve algorithm was employed to determine the optimum regularization parameter in this study.
g-factor maps are also used to demonstrate the effect of regularization on the noise of the unfolded images.

## Slide 4: Regularization_2) Inter-channel noise whitening
In general, A is an overdetermined linear system
[Nc x m]
Phi : ‘noise’ covariance matrix
1) phi inverse decorrelate the inter-coil noise // role of VH
2) give a relatively more weight on the coil which has low noise
variance value(means that coil is less noisy) // role of Λ-1/2
Noise covariance of A, is turn into
Identity matrix in whitened A(A tilde)
Whitening transformation
-1

## Slide 5: Regularization_3) Tikhonov regularization
Regularization factor
prior information
model error
prior error
L : positive semi-definite linear transformation
~

## Slide 6: Regularization_3) Tikhonov regularization
proof

## Slide 7: Regularization_4) g-factor
G-factor : quantified noise sensitivity

## Slide 8: Regularization_5) L-curve
To determine the appropriate regularization parameter()
↑ : more dependency on the prior information
↓ : decrease the difference btw model prediction and observation

## Slide 9: Regularization_5) L-curve

## Slide 10: Regularization_5) L-curve