## Slide 1: Advances in SENSE with Arbitrary k-Space Trajectories
Jaeeun Lee
2018/01/08

## Slide 2: Contents
Gridding
  PSF
  Brain image
  Deappodization
CG loop
Miscellanea
  Numerical Phantom Gridding
  Look-Up Table
  Size of image

## Slide 3: Gridding_ 1)PSF
Sampling parameters
- Image size = [256 X 256]
Gridding parameters
- Oversampling factor = 1
- Kernel width = 3
- Kernel constant = 7
[Spoke = 512]
[Spoke = 256]
[Spoke = 128]

## Slide 4: Gridding_ 1)PSF
Sampling parameters
- Image size = [256 X 256]
Gridding parameters
- Oversampling factor = 2
- Kernel width = 3
- Kernel constant = 7
[Spoke = 512]
[Spoke = 256]
[Spoke = 64]

## Slide 5: Gridding_ 2)Brain Image
Sampling parameters
- Image size = [256 X 256]
Gridding parameters
- Oversampling factor = 1
- Kernel width = 3
- Kernel constant = 7
[Spoke = 512]
[Spoke = 256]
[Spoke = 128]

## Slide 6: Gridding_ 2)Brain Image
Sampling parameters
- Image size = [256 X 256]
Gridding parameters
- Oversampling factor = 2
- Kernel width = 3
- Kernel constant = 7
[Spoke = 512]
[Spoke = 256]
[Spoke = 128]

## Slide 7: Gridding_ 3)Deappodization
Sampling parameters
- Image size = [256 X 256]
- Spoke = 512
Gridding parameters
- Oversampling factor = 2
- Kernel width = 3
- Kernel constant = 7
[deappodization kernel size]
[No deappodization]
[Center line profile]
[256 + eps(0.01)]

## Slide 8: CG Loop
Sampling parameters
- Image size = [256 X 256]
- Reduction factor = 4
Gridding parameters
- Oversampling factor = 2
- Kernel width = 3
- Kernel constant = 7
[iteration]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]

## Slide 9: CG Loop
Sampling parameters
- Image size = [256 X 256]
- Reduction factor = 4
Gridding parameters
- Oversampling factor = 2
- Kernel width = 5
- Kernel constant = 7
[iteration]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]

## Slide 10: Miscellanea_ 1)Numerical Phantom Gridding
Sampling parameters
- Image size = [256 X 256]
Gridding parameters
- Oversampling factor = 2
- Kernel width = 3
- Kernel constant = 7
[Spoke = 512]
[Spoke = 256]
[Spoke = 64]
REF: Bernstein, M. A., King, K. F., & Zhou, X. J. (2005). Handbook of MRI pulse sequences. Amsterdam: Elsevier, Acad. Press. Ch.17.5 Projection Acquisition, p.901

## Slide 11: Miscellanea_ 2)Look-Up Table
REF: Dale, B., Wendt, M., & Duerk, J. L. (2001). A rapid look-up table method for reconstructing MR images from arbitrary k-space trajectories. IEEE transactions on medical imaging, 20(3), 207-217.
In case of N equidistant point sampled signal
→ Each points of image can be calculated independently
if we set the in advance
- Relationship between f(n) and F(k) can be relaxed as
,and simplified as

## Slide 12: Miscellanea_ 2)Look-Up Table
REF: Dale, B., Wendt, M., & Duerk, J. L. (2001). A rapid look-up table method for reconstructing MR images from arbitrary k-space trajectories. IEEE transactions on medical imaging, 20(3), 207-217.
- In case of nonuniformly sampled signal
- Arbitrary k-space sampling signal
→ Each points of image can be calculated independently
if we pre-calculate the in advance