## Slide 1: Advances in SENSE with Arbitrary k-Space Trajectories
Jaeeun Lee
2018/10/12

## Slide 2: Contents
Intro
Theory
  Reconstruction Problem
  Iterative Solving
    Steepest Descent
    Conjugacy
    Conjugate Gradient
  Elimination of Noise Matrix
  FT for Matrix-Vector Multiplication
  Density and Intensity Correction
  Implementation
  Gridding
  k-space filtering

## Slide 3: Intro
non-Cartesian SENSE processing by performing reconstruction iteratively
SNR optimization is accomplished using CG iteration method
Make fast computation possible by combining FFT with forward and reverse gridding operations

## Slide 4: Theory_ a) Reconstruction Problem
Voxel function // reflecting the spatial signal response associated with pixel values
// a sample value m obtained from the γ-th coil at the κ-th position in k-space, r denotes 3D position
// c results from tissue and sequence parameters
// net encoding function composed of harmonic modulation and the complex spatial sensitivity of coil γ, and
// image values is to be calculated as a linear combination of sample values where ρ counts the voxels to be resolved
// reconstruction matrix F,
// voxel function; spatial weighting of signal in
// the matrix F has to be chosen such that the resulting voxel functions approximate the desired voxel shapes.
// denote an orthonormal set of ideal voxel shapes, e.g. box functions
// the relation between ideal voxel shapes and encoding functions is described by encoding matrix E
// E is formed by the scalar products of the hybrid gradient, sensitivity encoding functions and the chosen voxel prototypes
// set Dirac distributions as voxel prototypes, the equation is reduced to

## Slide 5: Theory_ a) Reconstruction Problem
Voxel function // there are many possible ways of approximating ideal voxels.
// each voxel function fulfil the orthonormality relations of its ideal counterpart
Weak
// F : reconstruction matrix E : encoding matrix, (Dirac distributions as voxel prototypes)
// It is underdetermined ; nc*nk exceeds nv -> F should be underdetermined to make Identity
// Means, it has degrees of freedom in the choice of the reconstruction matrix (optimizing SNR)
// the best solution of FE = Id in terms of SNR ; acquired by using Lagrange calculus
// psi tilde denotes the sample noise matrix
// image noise matrix
// Reconstruction equation

## Slide 6: Theory_ b) Iterative Solving
=
=
// too large
Using iterative algorithm, conjugate-gradient(CG)
It converges safely given that the coefficient matrix involved is positive definite
It yields the exact solution at most iteration (theoretically)
Iteration speed depends crucially on how fast matrix-vector multiplication can be performed

## Slide 7: Theory_ b) Iterative Solving
- The Quadratic Form
// if “A : a symmetric and positive-definite” , Ax = b get the min(f(x))
// goal : e -> 0
//

## Slide 8: Theory_ b) Iterative Solving
- The Steepest Descent
// search direction, : along the direction of steepest descent
// step size,: choose to minimize along a line
->

## Slide 9: Theory_ b) Iterative Solving
Conjugacy ; search direction = basis
  1. Search directions are orthogonal
  -> requirement :
  2. Search directions are ‘A-orthogonal(conjugate)’
  -> requirement :
// it is impossible to know ‘e’
//

## Slide 10: Theory_ b) Iterative Solving
Conjugate Gradient
// How to set the A-orthogonal search directions?
-> Gram-Schmidt conjugation
// search direction, : A-orthogonal
// u : a set of n linearly independent vectors

## Slide 11: Theory_ b) Iterative Solving
Conjugate Gradient
// How to set the A-orthogonal search directions?
-> Gram-Schmidt conjugation
// How to set the ‘u’?
-> residual // residual become
// No need to save all the previous search vectors

## Slide 12: Theory_ b) Iterative Solving
Conjugate Gradient

## Slide 13: Theory_ c) Elimination of the Noise Matrix
// This equation can be simplified by eliminating the phi
has one row and one column for each hybrid encoding carried out, thus its size is
diagonal entry : variance of noise in the corresponding sample value,
off-diagonal : noise correlation between samples
Assumption
  Noise correlation between different coils is constant over time
  There are noise correlation only btw samples taken simultaneously with different coils.
  Noise correlation occurs only btw samples taken simultaneously at the same position in k-space
// denote the noise output of the -th channel
// the bar indicates time averaging ; the relative error in each entry of psi decreases only as the inverse square root of the number of noise samples taken
// denote time-independent matrix
// noise samples taken in the absence of MR signal

## Slide 14: Theory_ c) Elimination of the Noise Matrix

## Slide 15: Theory_ c) Elimination of the Noise Matrix
// cholesky decomposition;
// virtual sampling data with decorrelated unit noise; whitened sample value
// net coil sensitivity associated with virtual channel; whitened coil sensitivity
// modified encoding matrix; whitened encoding matrix
// simplify the original equation without SNR compromise
// E drop the superscript for decorrelation

## Slide 16: Theory_ d) FT for Matrix-Vector Multiplication
In each CG loop, the matrices need to be multiplied with some tmp vectors
have not only hybrid encoding term but also ‘Fourier term’ which have the possibility that make operation efficiently.
//
//
// Ex could be thought as superposition of Fourier basis and convolution(sampling(delta func), (coil sensitivity * image))
// Ex = apply inverse FT on [coil sensitivity.*image](elemental-wise operation)

## Slide 17: Theory_ d) FT for Matrix-Vector Multiplication
//
// the right may be regarded as a sum of
k-space integrals weighted by coil sensitivity

## Slide 18: Theory_ e) Density and Intensity Correction
Preconditioning
Improving the condition of a matrix
// M is a symmetric, positive-definite matrix that approximates A
// eigenvalues of are better clustered
// However, is not generally symmetric nor definite, even if M and A are
-> let’s use instead of ()
They share same eigenvalues
  -
is symmetric and positive-definite
  Let

## Slide 19: Theory_ e) Density and Intensity Correction
Density correction
// RHS(an intermediate image) is created by gridding and FT, followed by sensitivity-weighted summation for each coil element
// this equation does not involve any correction for inhomogeneous k-space density
// Density correction of the sample vector m is performed by the diagonal matrix
// d(k) denotes the relative density of the k-space sampling pattern at the position k
// the effect of D is negligible with moderately changed d(k) (regular types of trajectories),
yet may be considerable with d(k) which has drastic change (e.g., random sampling)

## Slide 20: Theory_ e) Density and Intensity Correction
Intensity correction ; for computational speed
// the image is weighted by the sum-of-squares of coil sensitivities.
// inverse square-root of this weighting factor
// is no longer safely positive-definite

## Slide 21: Theory_ f) Implementation
// accuracy

## Slide 22: Theory_ f) Implementation
1. Let Ip = x
2. Multiply D
3. Let DEIp = y
3. Multiply I

## Slide 23: Theory_ f) Implementation
FT1
1. Convolve with gridding kernel
2. Twofold oversampling along Cartesian grid
3. FFT to image domain
4. Trim image matrix
5. Divided by Fourier transform of gridding kernel

## Slide 24: Theory_ f) Implementation
FT2
1. Divide by Fourier transform of gridding kernel
2. Double image matrix and zero-pad
3. Inverse FFT to k-space
4. Convolve with gridding kernel
5. Resample along non-standard trajectory

## Slide 25: Theory_ g) k-space filtering
- When the k-space trajectory used does not cover the entire, rectangular k-space region, the information from the corners of k-space could not be yield directly.
- The coil sensitivity have nonfinite Fourier representations which permit collecting infor-mation also from regions away from the actual k-space trajectory.
However, coil sensitivities have only small information on high frequency. As a consequence, the calculation of getting high frequency info from coil sensitivities should be ill-posed problem (intense noise contamination occurs).
We can relieve noise-amplification by using k-space filtering process.
Multiply the filter function on inverse Fourier transformed solution(ifft(v)), then apply fft.

## Slide 26: Theory_ g) k-space filtering
(parameter)
//