## Slide 1: Parallel Imaging Reconstruction Using Automatic Regularization
Jaeeun Lee
2018/08/07

## Slide 2: Contents
Generalized pMRI
  Index problem
  Comparison between line by line and pixelwise encoding function inversion
  Hybrid implementation
  Coil sensitivity calibration
Tikhonov paper
  Intro
  Weighted least squares problem & inter-channel noise whitening
  g-factor

## Slide 3: Generalized pMRI_1) index problem
Idx = 119 ~ -120
Idx = 120 ~ -119
Difference img (r_factor = 2)
Key : D.C
- we should find the d.c first in the full-sampled k-space data

## Slide 4: Generalized pMRI_2) Comparison between line by line and pixelwise encoding function inversion

## Slide 5: Generalized pMRI_2) Comparison between line by line and pixelwise encoding function inversion

## Slide 6: Generalized pMRI_2) Comparison between line by line and pixelwise encoding function inversion

## Slide 7: Generalized pMRI_3) Hybrid implementation
R = 2
Subblock = 1 (SMASH)
Noise st = 1e-5

## Slide 8: Generalized pMRI_3) Hybrid implementation
R = 2
Subblock = 24
Noise st = 1e-5
M = -22~25
M = 0~47

## Slide 9: Generalized pMRI_3) Hybrid implementation
R = 6
Subblock = 20
Noise st = 0.1
R = 6
Subblock = 40
Noise st = 0.1

## Slide 10: Generalized pMRI_4) Coil sensitivity calibration
Reference img obtained with any component coil
Differ from target spin density
Typically, rapidly-acquired low-resolution images are used as sensitivity references.
The sensitivity are replaced by in vivo
reference images
Special care must also be taken to avoid calibration errors, since the quotient image may be poorly behaved esp. in regions of low SNR

## Slide 11: Generalized pMRI_4) Coil sensitivity calibration

## Slide 12: Tikhonov paper_1) Intro
SNR is reduced due to
1. the reduced number of data samples ; inevitable
2. correlation in the spatial info(geometrical arrangement of the array coil) ; optimizing coil geometry
We can mitigate the noise amplification in SENSE reconstruction by utilizing Tikhonov regularization.
The advantages of regularized parallel MRI reconstructions was reported in various studies.
- regularization can potentially be used to unfold aliased images from an underdetermined system
A Full-FOV reference scan and the L-curve algorithm was employed to determine the optimum regularization parameter in this study.
g-factor maps are also used to demonstrate the effect of regularization on the noise of the unfolded images.

## Slide 13: Tikhonov paper_2) Weighted least squares problem & inter-channel noise whitening
In general, A is an overdetermined linear system
[Nc x m]
Weighted least squares problem
Col. Pic, row.pic

## Slide 14: Tikhonov paper_2) Weighted least squares problem & inter-channel noise whitening
Noise covariance of A, is turn into
Identity matrix in whitened A(A tilde)
Whitening transformation

## Slide 15: Tikhonov paper_3) g-factor
G-factor : quantified noise sensitivity